## Slide 1
Exercises on Advanced regression techniques of signal analysis for fault detection:
PCA
Federico Antonello
federico.antonello@polimi.it

## Slide 2: Plant Component Monitoring
S1
S5
S4
S3
S2
S6
Component
PCA
Reconstruction Model
S2
S5
S6
S3
S4
S1
S2
S5
S6
S3
S4
S1
Signal
Reconstructions
=
Expected signal values in normal conditions
Real
measurements

## Slide 3: Turbine

## Slide 4: Measured Signals
Temperature location 1 (°C)
Temperature location 2 (°C)
Temperature location 3 (°C)
Temperature location 4 (°C)
Temperature location 5 (°C)
Temperature location 6 (°C)

## Slide 5
PCA

## Slide 6: Exercise 1
Fill the missing parts of the code PCA_to_be_filled.m
Some useful matlab commands:
cov
eig

## Slide 7: Exercise 1 TRAINING PHASE: P matrix
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
% STEP 1: find the matrix P whose column are the eigenvectors ordered
from the largest (column 1) to the smallest (column n)
% SIZE of P is [n,n]
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

## Slide 8: Exercise 1 TRAINING PHASE: P matrix Solution
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
V=cov(train_data_n); % Covariance matrix of the normalized data
--------------------------------------------------------------------------
%compute eigenvalues and eigenvectors of the Covariance matrix V
[P_rev,D] = eig(V);
eig_val_rev = diag(D); %found eigenvalues are ordered from the smallest to the largest
[a,b]=sort(eig_val_rev);
%change the ordering of eigenvalues and eigenvectors: from the largest to the smallest
for ii=1:n
P(:,ii)=P_rev(:,b(n-ii+1));
eig_value(ii)=eig_val_rev(b(n-ii+1));
End
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

## Slide 9: Exercise 1 TRAINING PHASE: PCA Approximation
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
% STEP 2: perform the PCA approximation
% keep a number (lambda) of eigenvestors such that they represent at least perc_var of the total data variance
=
% Find the matrix P_lambda whose columns are the first lambda aigenvectors
% Assuming to keep only lambda PCs, size of P_lambda is [n,lambda]
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
How_many principal components should be considered?
  Untill variance reaches var_th (the variance of a single component is equal to its eigenvalue)

## Slide 10: Exercise 1 TRAINING PHASE: PCA Approximation Solution
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
% STEP 2: perform the PCA approximation
sum_eig=sum(eig_value);
n_PC=0;
sum_var=0;
while sum_var<var_th;
n_PC=n_PC+1;
sum_var=sum_var+eig_value(n_PC)/sum_eig;
if n_PC==n % to avoid numerical problem from the sum of the eigenvalues
sum_var=1
end
end
%----------------------------Keep only the first n_comp principal components
P_lambda=P(:,1:n_PC);
%end training phase
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

## Slide 11: Exercise 1 TEST PHASE: RECONSTRUCT THE TEST PATTERNS
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
% STEP 3: RECONSTRUCT THE TEST PATTERNS
% TO BE FILLED
% RECONSTRUCT THE TEST PATTERNS
% Call 'test_data_rec_n' the matrix containing the reconstruction of
% the test patterns. Size of test_data_rec_n is [N_test,n]
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

## Slide 12: Exercise 1 TEST PHASE: RECONSTRUCT THE TEST PATTERNS Solution
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
% STEP 3: RECONSTRUCT THE TEST PATTERNS
%--------------------------------------------------------------------------
%Reconstruct the test patterns by projecting in the trasformed basis, keep only the
% principal components and antitrasform
test_data_rec_n=test_data_n*P_lambda*P_lambda’;
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

## Slide 13: Exercise 2:
Consider the patterns in file ‘train.dat’ to develop a PCA reconstruction model. The file contains data collected during normal conditions. They are 6 temperature signals, 5200 measuraments/year.
Develop the PCA reconstruction model
Perform the reconstruction of the file ‘validation.dat’. The file contains data collected during normal conditions
Hints:
Perform the computation considering different numbers of Principal Components
Consider the root mean square error as a performance measure. Two tests should be performed:
  Input = normal condition signals
  Input = simulated abnormal conditions
[test_reconstruction,n_PC]=PCA_reconstruction(‘train.dat’,’validation.dat’,0.95)

## Slide 14: Exercise 2: Accuracy
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
Clear all
Close all
true_signal=load('validation.dat');
[N,n]=size(true_signal);
v=[0.98,0.99,0.995,1]
for i=1:4;
[test_reconstruction,n_PC(i)]=PCA_reconstruction('train.dat','validation.dat',v(i));
% Compute the root mean square error:
rmse(i)=sqrt(sum(sum((test_reconstruction-true_signals).^2))/(n*N));
close all
end
figure(1)
% subplot(211)
plot(v,n_PC,'.')
legend('number of principal components')
figure(2)
plot(v,rmse,'r.')
legend('RMSE')
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

## Slide 15: Exercise 2: Optimal Choice of the number of Principal components (test for the accuracy)

## Slide 16: Reconstruction of the normal condition: 1 PC

## Slide 17
Exercise 2: simulated abnormal conditions

## Slide 18: Reconstruction of the anomaly: 1 PC
Normal condition value

## Slide 19: Reconstruction of the normal condition: 3 PC

## Slide 20: Reconstruction of the anomaly: 3 PC
Normal condition value

## Slide 21: Accuracy and robustness Versus Number of Principal Components
Measure for robustness:
Exercise: try to plot this figure

## Slide 22: Accuracy and robustness Versus Number of Principal Components
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%
true_signal=load('validation.dat');
[N,n]=size(true_signal);
v=[0.98,0.99,0.995]
for i=1:4;
[test_reconstruction,n_PC(i)]=PCA_reconstruction('train.dat','validation.dat',v(i));
rmse(i)=sqrt(sum(sum((test_reconstruction-true_signals).^2))/(n*N));
[test_reconstruction,n_PC(i)]=PCA_reconstruction('train.dat','val_anomaly.dat',v(i));
robustness(i)=sqrt(sum(sum((test_reconstruction(:,1)-true_signal(:,1)).^2))/(N));
close all
end
figure
% subplot(211)
plot(n_PC,rmse,'.')
hold on
plot(n_PC,robustness,'r.')
legend('reconstruction error','robustness')
%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

## Slide 23: Exercise 3
Perform the reconstruction of the signal measurements in the 3 files test_1.dat, test_2.dat, test_3.dat
In which files can you detect abnormal conditions? Do you have any hypothesis on the type of abnormal condition?
  Draw your conclusions on the possibility of using the developed model for fault detection